TENDER NOTICE

Sealed bids are invited from well-reputed Firms / contractors dealing in renovation / civil work of the buildings having NTN & GST numbers for the following works as per BOQ, in PASTIC building (Reprographic Unit) at Quaid-i-Azam University Campus, Islamabad:-

- Providing and laying flooring tiles comprising 24”x24”x3/8” (1600cm)

- Providing and lying joint cure tiles

- Providing and fixing of wooden texture Aluminum doors having fixed glazed portion and hinged shutter

- Graphitto Paint of 2mm thick any colour

- Painting with (ICI) Dulux, Burger, Buxlay Distemper paint of approved shade

- Providing and fixing of fall ceiling of 2’x2’ Mineral fiber

- Providing and fixing of lights in fall ceiling

- Making and fixing counter

- Providing and fixing of Deodar Wood frame

- Providing and laying of 1’ thick PCC plate form

- Providing and lying of wire/cable (Pakistan Cable or equivalent) 4core/50mm

- Providing and fixing of Distribution Box Powder Coated

- Sealed bids of above mentioned work are invited alongwith earnest money equivalent to 2% of bid value / total cost should be attached in shape of Bank Draft / Pay Order in favour of DDO, PASTIC NC, Islamabad and reach to this office not later than 12/06/2012 at 10:00 a.m. which will be opened by the Tender Opening Committee of PASTIC on the same day at 10:30 a.m. in PASTIC National Centre, Quaid-i-Azam University Campus, Islamabad in the presence of the bidders or their representative, if they wish to attend.

- Tended will be issued to those firms who have sufficient experience and completion certificate in same nature of work.

- Tender Documents / BOQ can be obtained from the office of the Project Director (Reprographic Unit) during the office hours except Saturday, Sunday and holidays before the closing date i.e. 12/06/2012 & time of receipt of bids.

Additional Director (A&F)

Phone: 051-9248105

BOQ FOR RENOVATION FOR REPROGRAPHIC UNIT

| Sr. No. | Description | Qty | Rate |
| --- | --- | --- | --- |
|  | Providing and laying flooring comprising tiles 24”x24”x3/8” (1600cm) (available thickness) Granitto tiles (Master or equivalent) best quality subject to prior approval by the project director. Fixed with Referra or Master dry bond laid over 1 ½’’ thick PCC 1:2:4 using 3/8’’ down course aggregates or cement sand where required for final level and stop i.e. filling joint with readymade approved filler of suitable colour (at any height). | 3000 Sft |  |
|  | Providing and lying joint cure etc tiles 1’’ total thick glazed (glossy) ceramic tiles dado using “Master” (Supreme Quality or equivalent), tiles of approved colour and shade in toilets including ¼’’ neat cement butter on back of tiles remaining thickness made up with 1:2 cement sand rough base, complete Size 12’’x18’’ up to any height. | 1200 Sft. |  |
|  | Providing and fixing of wooden texture Aluminum doors having fixed glazed portion and hinged shutter with handles hydraulic door closer one on each shutter, door stopper, tower bolts and door lock (Alpha Japan) main frame to be of 101x32x2mm thick, shutter frame to be 65mmx42x2mm thick with bottom member 101x42x2mm having corrugated kick plate 1.2mm thick & of 6-1’’ height, sections complete as per drawing specification and direction of the Project Director. Note: All work of Aluminum doors and partition etc. use : Lock of MICO Taiwan Imported sliding bush rubber Roller of METEX Japan Fly screen Jali of PEL or OPELETE with full patty hinge. Hinges of min. 3mm thickness. Imported magnetic catcher, handles & stay bars. Glazing in clear glass 5mm thick. All sections in wooden texture subject to prior approval by the engineer. | 250 Sft |  |
|  | Graphitto Paint of 2mm thick any color and design and height, complete in all respect. | 1000 sft |  |
|  | Painting with (ICI) Dulux, Burger, Buxlay Distemper paint of approved shade two coats over and including rubbing scraping sand papering of plaster surface repairing wall with cement sand plastering where required at any height any floor. | 20000 Sft. (Com. Job) |  |
|  | Providing and fixing of fall ceiling of 2’x2’ Mineral fiber with T angle of imported fitting leveling complete in all respect. | 2500 Sft |  |
|  | Providing and fixing of fall ceiling lights 2’x2’ of Philips or equivalent company with wiring 7/29 GM cable and switch point complete with fitting as direction of Project Director. | 30 No’s |  |
|  | Making and fixing counter using ¾’’ thick Lasani wood lamination with matt Formica finish drawers and shelves and directed compete with approved hardware fitting such as hinges, handle etc. | 400 Sft (Com. Job) |  |
|  | Providing and fixing of Deodar Wood frame for counter of 1 ½ x 2 ½ thick wood making proper space for shelf with channels and lock arrangement complete in all respect. | 400 Sft. (Com. Job) |  |
|  | Providing and lying of 1’ thick PCC 1:2:4 floor using ¼” down course aggregates to final level / slops, including excavation and dismantling of 1’ thick floor Mozaaq (Chips) up to final level | Complete Job |  |
|  | Providing and lying of wire/cable (Pakistan Cable or equivalent) 4 core/50MM Sq. (30 Meter) with PVC duct (Adam Jee) 60x60 (30 Meter) breaking through the wall fitting with clamps dismantling of PCC where required, repair all broken wall and paint after lying of cable, complete in all respect. | Complete Job |  |
|  | Providing and fixing of Distribution Box Powder Coated, weather proof 18-gauge with lock and looking arrangement size 2’x2’ with circuit breaker three pole MCCB 3/150 Amp. TP Terasaki Malaysia Made with Neutral and Earth link 100 Amp. Complete in all respect. | 1 No. |  |

The quantity of work is subject to increase/decrease as per actual work done at site.

TENDER DOCUMENT

Name of Firm (Bidder):		_____________________________________

Mailing Address:			_____________________________________

Telephone No:			________________Fax No. ______________

GST Reg. No.			_____________________________________

National Tax Number:		_____________________________________

Year of Establishment in Pakistan:

Firm’s Status

DETAIL OF RENOVATION WORK

| S.No. | Description | Qty | Rate (Rs) |
| --- | --- | --- | --- |
|  | Providing and laying flooring comprising tiles 24”x24”x3/8” (1600cm) (available thickness) Granitto tiles (Master or equivalent) best quality subject to prior approval by the project director. Fixed with Referra or Master dry bond laid over 1 ½’’ thick PCC 1:2:4 using 3/8’’ down course aggregates or cement sand where required for final level and stop i.e. filling joint with readymade approved filler of suitable colour (at any height). | 3000 Sft | @\Rs. |
|  | Providing and lying joint cure etc tiles 1’’ total thick glazed (glossy) ceramic tiles dado using “Master” (Supreme Quality or equivalent), tiles of approved colour and shade in toilets including ¼’’ neat cement butter on back of tiles remaining thickness made up with 1:2 cement sand rough base, complete Size 12’’x18’’ up to any height. | 1200 Sft. | @Rs. |
|  | Providing and fixing of wooden texture Aluminum doors having fixed glazed portion and hinged shutter with handles hydraulic door closer one on each shutter, door stopper, tower bolts and door lock (Alpha Japan) main frame to be of 101x32x2mm thick, shutter frame to be 65mmx42x2mm thick with bottom member 101x42x2mm having corrugated kick plate 1.2mm thick & of 6-1’’ height, sections complete as per drawing specification and direction of the Project Director. Note: All work of Aluminum doors and partition etc. use : Lock of MICO Taiwan Imported sliding bush rubber Roller of METEX Japan Fly screen Jali of PEL or OPELETE with full patty hinge. Hinges of min. 3mm thickness. Imported magnetic catcher, handles & stay bars. Glazing in clear glass 5mm thick. All sections in wooden texture subject to prior approval by the engineer. | 250 Sft | @Rs. |
|  | Graphitto Paint of 2mm thick any color and design and height, complete in all respect. | 1000 sft | @Rs. |
|  | Painting with (ICI) Dulux, Burger, Buxlay Distemper paint of approved shade two coats over and including rubbing scraping sand papering of plaster surface repairing wall with cement sand plastering where required at any height any floor. | 20000 Sft. (Com. Job) | @Rs. |
|  | Providing and fixing of fall ceiling of 2’x2’ Mineral fiber with T angle of imported fitting leveling complete in all respect. | 2500 Sft | @Rs. |
|  | Providing and fixing of fall ceiling lights 2’x2’ of Philips or equivalent company with wiring 7/29 GM cable and switch point complete with fitting as direction of Project Director. | 30 No’s | @Rs. |
|  | Making and fixing counter using ¾’’ thick Lasani wood lamination with matt Formica finish drawers and shelves and directed compete with approved hardware fitting such as hinges, handle etc. | 400 Sft (Com. Job) | @Rs. |
|  | Providing and fixing of Deodar Wood frame for counter of 1 ½ x 2 ½ thick wood making proper space for shelf with channels and lock arrangement complete in all respect. | 400 Sft. (Com. Job) | @Rs. |
|  | Providing and lying of 1’ thick PCC 1:2:4 floor using ¼” down course aggregates to final level / slops, including excavation and dismantling of 1’ thick floor Mozaaq (Chips) up to final level | Complete Job | @Rs. |
|  | Providing and lying of wire/cable (Pakistan Cable or equivalent) 4 core/50MM Sq. (30 Meter) with PVC duct (Adam Jee) 60x60 (30 Meter) breaking through the wall fitting with clamps dismantling of PCC where required, repair all broken wall and paint after lying of cable, complete in all respect. | Complete Job | @Rs. |
|  | Providing and fixing of Distribution Box Powder Coated, weather proof 18-gauge with lock and looking arrangement size 2’x2’ with circuit breaker three pole MCCB 3/150 Amp. TP Terasaki Malaysia Made with Neutral and Earth link 100 Amp. Complete in all respect. | 1 No. | @Rs. |
| Total |

TERMS & CONDITIONS:-

- Sealed bids of above mentioned civil work as per BOQ are invited alongwith earnest money equivalent to 2% of bid value / total cost should be attached in shape of Bank Draft / Pay Order in favour of DDO, PASTIC NC, Islamabad and reach to this office not later than  12/06/2012 at 10:00 a.m. which will be opened by the Tender Opening Committee of PASTIC on the same day at 10:30 a.m. in PASTIC National Centre, Quaid-i-Azam University Campus, Islamabad in the presence of the bidders or their representative, if they wish to attend.

- Firms should quote their rates (inclusive of all Govt. Taxes) as per BOQ, after visiting the site of work. No telegraphic or faxed bid will be acceptable.

- The Jobs must be completed within 15-days after issuance of work orders.

- No transportation and carriage / mobilization charges will be allowed.

- Income Tax & 1/5th of the Sales Tax (if applicable) will be deducted at source as per Government Rules.

- The work, if done below prescribed specifications / standard, will not be accepted and the Firm concerned will have to do it again at his own risk and cost.

- The bid with lowest total cost conforming to specifications and terms & conditions prescribed in tender document shall be considered for award of contract

- Advance payment if required will be made against Bank Guaranty/ Insurance Bond.

Additional Director (A&F)

Phone: 051-9248105

Acceptance Note:

We, hereby, accept all the above mentioned terms & conditions as a whole prescribed for completion of the jobs, if awarded to us.

Signature of the Bidder

With Seal